Course Outlines

Course # 463603

“Introduction to Energy Technology “

1 -    Introduction :

Importance of Electrical Energy – Generation of Electrical Energy – Sources of Energy – Comparison of energy sources – Units of Energy – Relation among energy units – Calorific value of fuels .

Units of measurement [Volts, Ohms, Amperes, Watts (watt – hours) , Frequency, Capacitance and inductance] .

Electrical properties of material (insulators, conductors) .

Circuits (Series , Parallel, Basic laws ) .

Power systems (DC power , AC power, single phase and three phase systems, AC voltage and current).

Electricity and Magnetism (Right hand rule, Faraday’s law, Lorentz law) .

2-   Transformers and Rotating Machinery :

Single and three phase transformers

Transformer taps

Autotransformer

Direct current generators and motors

Induction motors

Synchronous motors

High efficient motors

3-    Generating Stations :

Steam Power Station.

Hydro – Electric Power Station.

Diesel Power Station.

Nuclear Power Station.

Comparison of  Various Power Plants.

4-	Variable Load on Power Stations :

Variable load on Power Station – load curve.

Unit generated per annum – load duration curve.

Base load and peak load on Power Station .

Interconnected grid system.

5-	Introduction to Switchgear :

Switchgear equipment.

Bus – bar arrangements.

Circuit Breakers .

Short – circuit currents.

Faults in a power system .

6-	Sub – stations:

Classification of sub-stations.

Comparison between outdoor and indoor sub-stations.

Pole – mounted substation.

Underground substation.

7-	Distribution Systems :

DC distribution.

AC distribution.

Methods of solving AC distribution problems .

8-   Low voltage distribution :

LV  distribution system

Lighting systems

Power distribution system

Electrical installation in buildings

Electrical installation in factories

Electric shock

Grounding systems

9-	Tariff Structure :

Types of tariff .

Sliding – scale tariff.

Two – part tariff .

Economical factors.

10-	Power Factor Improvement :

Power Factor . Disadvantage of low power factor .

Power factor improvement .

Importance of power factor improvement.

11-	Electrical Instruments and Measurements :

Power measurements.

Energy measurements .

Power factor measurements.

Instrument transformers.

Digital instruments.

Exams :

First   Exam  ( 1 H ) – 20%

Second  Exam  ( 1 H ) – 20%

Project :  10%

Final  Exam  ( 2 H) – 50%

# Text boxes

An-Najah National University

Faculty of Graduate Studies   & Energy Research Center

"Clean Energy and Conservation Strategy”